## Slide 1: Distributed Control and Automation Framework (DCAF)
Creating a DCAF Application
Instructor Name
Instructor’s role
Notes: People that contributed with this content:
Benjamin Celis
Mathew Pollock
Simon Perez
Andres Gomez

## Slide 2: Agenda
Exercise Introduction
Outline and Checklist
Creating Main VI Using Execution Templates
  Exercise
Using DCAF Configuration Editor
Loading Dependencies and the Module Includes VI
Deploying Configuration File
Running Main VI
  Exercise
Quiz

## Slide 3
Exercise Introduction

## Slide 4: Exercise Project without Hardware
Engine 1 (Host)
UI
PID Settings>>
Setpoint>>
Fan On?>>
Temperature<<
Lamp<<
UDP
>>PID Settings>>
>>Setpoint>>
>>Fan On?>>
<<Temperature<<
<<Lamp<<
Engine 2 (Controller)
UDP
>>PID Settings>>
>>Setpoint>>
>>Fan On?>>
<<Temperature<<
<<Lamp<<
Temperature Controller
>>PID Settings
>>Setpoint
>>Fan On?
>>Temperature
Fan Control>>
Lamp Control>>
Temperature Chamber Model
>>Fan Control
>>Lamp Control
<<Temperature<<

## Slide 5: Exercise Project without Hardware
2 Engines
UDP for E3E
Temperature control
Acquire Data Scan Engine
PID Control
Log To Disk
UI

## Slide 6: Exercise Project With Hardware
2 Engines
UDP for E3E
Temperature control
Acquire Data Scan Engine
PID Control
Log To Disk
UI
Notes: Provide UI

## Slide 7
Outline and Checklist

## Slide 8: Outline and Checklist
Create a Main VI for each execution target (windows, cRIO, etc.) using DCAF's execution templates.
Download existing DCAF module plugins and design, build, and test new modules if needed.
Configure system behavior using the DCAF Standard Configuration Editor.
Include dependencies.
Deploy an up-to-date config file to each execution target at the appropriate location.
Run the application from the development environment and troubleshoot as needed.
Build the application into an executable and troubleshoot as needed once again.

## Slide 9
Creating Main VI Using Execution Templates

## Slide 10: Runtime Templates

## Slide 11: Basic Execution Template

## Slide 12: Most Common Case of the template

## Slide 13: Services template

## Slide 14
Exercise
Hands On 1 Exercise 1 Part A
Notes: https://github.com/LabVIEW-DCAF/Documentation/blob/master/Trunk/Getting%20Started%20Material/Hands%20On/Hands-On_1/DCAF_Hands_On_1.md
Students will follow the instructions to finish Hands On 1: Part A: Project Creation and UI
Estimated Time: 12 minutes.

## Slide 15
Using DCAF Configuration Editor

## Slide 16: Launching Configuration Editor

## Slide 17: Search Paths
Notes: Tools >> Edit Plugin Search Paths

## Slide 18: Creating the System Hierarchy

## Slide 19: Create and Map Tags

## Slide 20: Configure Engine and Modules

## Slide 21: Error Handling
Notes: Error actions are configurable per module.

## Slide 22
Loading Dependencies and the Module Includes VI

## Slide 23: Loading Dependencies
DCAF is a plugin-based framework without static dependencies between the framework and its modules.
Dependencies must be loaded into memory before the DCAF configuration file is parsed.

## Slide 24: Script Includes
You should run this every time you add new modules to the configuration
It updates the includes VI

## Slide 25
Deploying Configuration File

## Slide 26: Deploying a Configuration File
Before running the code on a remote target, the .pcfg configuration file needs to be deployed.
Solutions:
  Use DCAF built-in tool in the editor.
  Manually transfer files (WebDAV, FTP, etc).
  Have the application automatically pull file from remote location.

## Slide 27: Deployment
Tools >> Deploy Tool from DCAF Editor.
SSH Enabled in Target.

## Slide 28
Running Main VI

## Slide 29: Running Main VI

## Slide 30
Exercise
Hands On 1 Exercise 1 Parts B and C
Notes: https://github.com/LabVIEW-DCAF/Documentation/blob/master/Trunk/Getting%20Started%20Material/Hands%20On/Hands-On_1/DCAF_Hands_On_1.md
Students will follow the instructions to finish:
Hands On 1: Part B: Adding Required Classes
Hands On 1: Part C: Mapping Tags in the Configuration Editor
Estimated Time: 30 minutes. Students that finish early can start working on the next exercise.

## Slide 31
Exercise (optional)
Hands On 1 Exercise 2
Notes: Optional exercise for those we finished early.
https://github.com/LabVIEW-DCAF/Documentation/blob/master/Trunk/Getting%20Started%20Material/Hands%20On/Hands-On_1/DCAF_Hands_On_1.md
Hands On 1: Exercise 2: Adding Standard Modules to the Temperature Control Application (TDMS & CVT)
Estimated Time: 15 minutes. Have students working on this exercise only if you are going ahead with the schedule.

## Slide 32
Quiz

## Slide 33: What Templates Exist to Launch my Runtime DCAF Application?
Static Module Template
DCAF Execution Service
DCAF Configuration Editor
DCAF Basic Execution Template
Notes: B and C

## Slide 34: What Templates Exist to Launch my Runtime DCAF Application?
Static Module Template
DCAF Execution Service
DCAF Configuration Editor
DCAF Basic Execution Template
Notes: B and C

## Slide 35: Select the option that represents the right order of containment in DCAF
>> means the element in the left contains the element in the right.
Target >> System >> Engine >> Module
Module >> System >> Target >> Engine
System >> Target >> Engine >> Module
System >> Engine >> Target >> Module
Notes: C

## Slide 36: Select the option that represents the right order of containment in DCAF
>> means the element in the left contains the element in the right.
Target >> System >> Engine >> Module
Module >> System >> Target >> Engine
System >> Target >> Engine >> Module
System >> Engine >> Target >> Module
Notes: C

## Slide 37: Which of the steps below do I need to execute after making changes to my DCAF Configuration File?
Re-script the Includes VI with the dependencies classes, only if new modules were added.
Re-create my LabVIEW project using one of the templates
Deploy the updated configuration file in case it is a remote target.
If I am running an executable, recompile it regardless of the changes that were made.
Notes: A and C

## Slide 38: Which of the steps below do I need to execute after making changes to my DCAF Configuration File?
Re-script the Includes VI with the dependencies classes, only if new modules were added.
Re-create my LabVIEW project using one of the templates
Deploy the updated configuration file in case it is a remote target.
If I am running an executable, recompile it regardless of the changes that were made.
Notes: A and C

## Slide 39: Outline and Checklist Review
Create a Main VI for each execution target (windows, cRIO, etc.) using DCAF's execution templates.
Download existing DCAF module plugins from the community and design, build, and test new modules if needed.
Configure system behavior using the DCAF Standard Configuration Editor.
Load the code for each dependent plugin module within the appropriate Main VI.
Deploy an up-to-date config file to each execution target at the appropriate location.
Run the application from the development environment and troubleshoot as needed.
Build the application into an executable and troubleshoot as needed once again.

## Slide 40
Resources

## Slide 41: Resources
DCAF Developer Guide:
  Chapter 3: Creating a New Application
Notes: https://github.com/LabVIEW-DCAF/Documentation/blob/master/Trunk/Getting%20Started%20Material/devguide/ch3_Creating%20a%20new%20Application.md