## Slide 1: Distributed Control and Automation Framework (DCAF)
DCAF Debugging
Benjamin Celis, Simon Perez Santa Maria

## Slide 2: Agenda
RT debugging Challenges
Basics RT Debugging
Running modules outside of the Engine
Debugging Reentrant Vis.
Debugging tools
  Syslog
  Tag View
  CVT
  Shared Variables.

## Slide 3: DCAF Temperature Chamber
UI VI
DCAF UI Module
DCAF UDP Module
DCAF Engine
DCAF Engine
DCAF UDP Module
DCAF Scan Engine Module
CRIO Hardware
UDP

## Slide 4: RT Debugging Challenges
Complex Systems
Multiple devices
Cant Debug Re-entrant VI in RT
RT system might be running headless
Network Issues
Process Starvation
Timing Issues
Race Conditions

## Slide 5
Basics RT Debugging

## Slide 6: Follow Programing Best Practices
The best way to not have a bug is to prevent it in the first place.
Best practices reduce the possibility of bugs to happen and makes it easier to find them once they happen.
Best Practices Include:
  Modular code
  Unit Testing
  Single Writers
  Reduce number of global resources.

## Slide 7: Where is the Bug?
Modular Code and Unit Testing
  If we don’t know if individual components work
  we don’t know if the whole system works
Error Handling
  Hard to find ignored errors and errors that are
  overwritten
Use External Tools like Max
  and Distributed System Manager
Notes: Blaming the engine.

## Slide 8: Error Wiring
Error Propagation
Unwired errors
Unreported errors

## Slide 9: DCAF Error Management

## Slide 10
Debugging Reentrant VIs

## Slide 11: Reentrant clones.
Use breakcpoints
Use nonreentrant Vis (useful if you only have 1 instance)
Use syslog (but include clone information)

## Slide 12
Running Modules Outside of the Engine

## Slide 13: Make sure parts work before testing the whole
Test the module with Unit Test of test outside of the engine
Sometimes you need to test in the engine, publish the tags.

## Slide 15
Syslog

## Slide 16: Syslog
Available in Linux RT Targets
Event sent to Log:
  Initialization and shutdown of all software modules
  Any error reported to the engine
  Any module trace messages added via the API

## Slide 17: Syslog - System Log View

## Slide 18: Syslog - System Log View

## Slide 19: Syslog
NI Linux RT targets already have a syslog-ng daemon running
DCAF taps into the existing background process to log and report messages
You can, too!
Notes: Add WIF

## Slide 20
CVT

## Slide 21: What is CVT
Use DCAF CVT Module
ADD CVT tags to the main VI
Make sure the name is correct (handle errors for the tags)

## Slide 22: Shared Variables
Shared Variables have the limits but sometimes they can help debug RT applications
Use with care with Clones